VKUP-AK Terminal box for VKUP

- Terminal box of sheet steel

- powder-coated

- with adjustable pressure regulator and manometer for dissolving air

- dead-voltage contactor for 400V~

- 12V DC supply voltage VKUP

- robust quick connecting plug for VKUP

- terminals for quickly electric installation

- compressed air connection

technical data:

- dimensions (w x h x d): 383mm x 370mm x 210mm